## Template
Tag_Name | Tag_Description | PLC_Address | Index_or_Offset | SCADA_Address | SCADA_Data_Type | Units | True_Text | False_Text | Measurement_Type | Client_Access | Wellkeeper_Equipment | Special_instructions
Pressure_1 | Tubing Pressure | %MF200 | 200 | 40201 | Float | psig |  |  | pipe_psig | ro | Wellhead
Pressure_2 | Casing Pressure | %MF202 | 202 | 40203 | Float | psig |  |  | pipe_psig | ro | Wellhead
Tank_1_Top_Level | Water Tank 1 | %MF256 | 256 | 40257 | Float | ft |  |  | tank_level | ro | Water Tank 1
Tank_2_Top_Level | Oil Tank 1 | %MF258 | 258 | 40259 | Float | ft |  |  | tank_level | ro | Oil Tank 1
Tank_3_Top_Level | Oil Tank 2 | %MF260 | 260 | 40261 | Float | ft |  |  | tank_level | ro | Oil Tank 2