## Site
Site_Name | Operator | IP_Address | Port | Latitude | Longitude | Operator_id
Golladay | Murchison | 166.251.78.83 | 502 | 31.9798 | -101.9384 | 11

## Tags
Tag_Name | Tag_Description | PLC_Address | Index_or_Offset | SCADA_Address | SCADA_Data_Type | Units | True_Text | False_Text | Measurement_Type | Client_Access | Wellkeeper_Equipment | Special_instructions
Pressure_1 | Tubing Pressure | %MF200 | 200 | 40201 | Float | psig |  |  | pipe_psig | RO | Wellhead
Pressure_2 | Casing Pressure | %MF202 | 202 | 40203 | Float | psig |  |  | pipe_psig | RO | Wellhead
Tank_1_Top_Level | Water Tank 1 | %MF256 | 256 | 40257 | Float | ft |  |  | tank_level | RO | Water Tank 1
Tank_2_Top_Level | Water Tank 2 | %MF258 | 258 | 40259 | Float | ft |  |  | tank_level | RO | Water Tank 2
Tank_3_Top_Level | Oil Tank 1 | %MF260 | 260 | 40261 | Float | ft |  |  | tank_level | RO | Oil Tank 1
Tank_4_Top_Level | Oil Tank 2 | %MF262 | 262 | 40263 | Float | ft |  |  | tank_level | RO | Oil Tank 2
Tank_5_Top_Level | Oil Tank 3 | %MF264 | 264 | 40265 | Float | ft |  |  | tank_level | RO | Oil Tank 3
Tank_6_Top_Level | Oil Tank 4 | %MF266 | 266 | 40267 | Float | ft |  |  | tank_level | RO | Oil Tank 4
Tank_7_Top_Level | Oil Tank 5 | %MF268 | 268 | 40269 | Float | ft |  |  | tank_level | RO | Oil Tank 5
Tank_8_Top_Level | Oil Tank 6 | %MF270 | 270 | 40271 | Float | ft |  |  | tank_level | RO | Oil Tank 6